## Slide 1: CARDIAC CRITICAL CARE
DR. JONATHAN NWILOH
CONSULTANT CARDIOTHORACIC SURGEON

## Slide 2: CONFLICT OF INTEREST
NONE

## Slide 3: EVOLUTION OF CARDIAC ICU
1960s: Concept of specialized unit for post MI patients due to high mortality from lethal arrythmias - continuous ECG monitoring, defibrillators and external pacing
1970s – 1980s: CCU to CICU - Expansion to managing complex cardiovascular conditions including cardiogenic shock, APE, post cardiac surgery care
1990s – 2000s: Integration with critical care as cardiac patients increasingly had multiorgan dysfunction requiring multidisciplinary teams – Intensivists, cardiologists, cardiac surgeons, respiratory therapists, nurses trained in critical care

## Slide 4: EVOLUTION OF CARDIAC ICU
2010s – Present: Tiered levels of care based on patient complexities and institutional resources, with advanced cardiac technologies now common place
Advanced heart failure and Mechanical Circulatory support: IABP, Impella, ECMO, LVADs, RVADs

## Slide 6: EVOLUTION OF CARDIAC CRITICAL CARE IN NIGERIA
Pre-1980s: Almost non-existent, limited cardiac care
1980s-1990s: Limited ICU infrastructures, patients post CS or MI often managed in general ICUs lacking specialized care. Establishment of basic CCUs in select hospitals in Lagos, Abuja and Ibadan
2000s-2010s: Dedicated Cardiac ICUs in a few hospitals - National Hospital Abuja, LUTH, UCH, UNTH and more cardiac surgery programs emerged

## Slide 7: EVOLUTION OF CARDIAC CRITICAL CARE IN NIGERIA
2010s - Present: Advancements in equipment and training. Integration of advanced cardiac technologies in some major hospitals – Cardiac Cath labs, MCS and telemedicine consultations
Challenges: Inadequate infrastructure with many CICUs lacking state of the art equipment like IABP, ECMO, modern defibrillators and advanced monitoring devices
Limited healthcare accessibility, brain drain and inadequate funding

## Slide 8: Primary Objectives of Critical Care Units
Hemodynamic monitoring and support
Stabilization of critical conditions
Advanced life support
Multidisciplinary management
Prevention of complications
Facilitation of recovery
CICU – Postoperative cardiac care, Mechanical circulatory support (IABP, VADs, ECMO)

## Slide 11: Human Factors and Human Nature in Cardiothoracic Surgery – Ann Thora Surg 2016
Estimated that 54% of the adverse events in patients undergoing surgery are preventable
Patient safety programs have targeted potential failure points within the system such as ;
Operating rooms, teamwork, tools, tasks and workload, EMR and organizational processes
Despite publication by the Institute of Medicine report ”To err is human in 1999, and WHO guidelines in 2008 identifying multiple practices to improve safety, the pace of safety improvement has been relatively slow

## Slide 13: Cardiac Surgery Mortality: Phase of Care
53,674 adult cardiac operations 2006 – 2010 in Michigan Society of CT Surgeons database with overall mortality 3.5% (1905/53,674
35% (618 of 1780) were preoperative, 25% (451 of 1780) were ICU, 19% (333 of 1780) were intraoperative, 11% (198 of 1780) were floor and 10% (180 of 1780) were discharge phase
Avoidable mortality triggers occurred in 53% (174/333) of intraoperative phase, 41%(253/618) and (184/451) of preoperative and ICU phases, 42% (83/198) of floor and 19% (35/180) 0f discharge phases.
Overall potentially avoidable mortality was 41% (729/1780).

## Slide 14: Place of Preventable Mortalities in Cardiac Surgery

## Slide 15: FAILURE TO RESCUE
1992 – Silber introduced the concept of FTR defined as death during an in-hospital stay among patients with a postoperative complication
Examined 5,972 Medicare patients undergoing elective cholecystectomy or TURP using 3 outcome measures: 1)death rate; 2) adverse occurrence rate; 3) the failure rate
Death rate was associated with both hospital and patient characteristics
Adverse occurrence was associated primarily with patient characteristics

## Slide 16: FAILURE TO RESCUE
Failure to rescue was associated more with hospital characteristics and less influenced by patient admission severity of illness
Concluded that factors associated with hospital failure to rescue are different from factors associated with adverse occurrences or death.
Understanding the reasons behind the variation in mortality rates across hospitals should improve ability to use mortality statistics to help hospital upgrade the quality of care.

## Slide 17: FAILURE TO RESCUE
Subsequent studies conducted to assess its value demonstrated that hospitals with lowest perioperative mortality did not necessarily have the lowest complications
Differences in FTR were due to successful hospitals been more ready to efficiently manage complications.
Over the past 30 years a growing body of evidence across numerous surgical specialties have shown that postop mortality is more closely correlated with rates of FTR than the incidence of complications
There was initial slow adoption of FTR concept in clinical practice, but it subsequently gained increasing attention in all fields of surgery

## Slide 18: FAILURE TO RESCUE
FTR was adopted consequently as a patient safety and quality metric by several agencies including National Quality Forum, Centers for Medicare & Medicaid Services and Society of Thoracic Surgeons
The STS National Database was established in 1989 to promote safety and quality improvement is one of the largest and most highly regarded clinical data registries in healthcare

## Slide 19: QUALITY METRICS
The metrics used to measure quality of care in cardiac surgery have evolved over time
Mortality rate the one time gold standard for hospital comparison is limited by confounders such as surgical case mix and patient disease severity
Complication rate is associated with comorbidities making it a poor gauge of quality of care
Current risk models to predict morbidity and mortality after cardiac surgery include the STS PROM and EuroSCORE II

## Slide 20: QUALITY METRICS
The STS PROM and EuroSCORE II focuses more on an individual surgeon
Due to mounting evidence that evaluation of FTR may provide additional information not apparent in the traditional risk models, STS in 2022 developed a risk adjusted FTR metric designed to assess the efficacy of postoperative care within a health care system and to guide hospital efforts for quality improvement
Combining FTR with other performance metrics helps identify shortcomings in processes of care for targeted improvement.

## Slide 21: Criteria for Complications Used In FTR Metrics
FTR in cardiac surgery has been examined using a broad scope of complications and a more standard definition is needed
Nearly all postoperative mortalities are preceded by at least one complication
1. Complication must have a potential to cause mortality
2. Complication must be rescuable. If there exists no established treatment, then there is no opportunity to rescue
3. Complication must be a new problem not present preoperatively
4. Complication must be objective and unambiguous

## Slide 24: SHOCK TEAMS
Rapidly evolving field
Multiple providers and specialties involved
Cardiogenic shock is resource intensive (ICU space, OR, personnel)
Increasing number of advanced mechanical circulatory support options
High level of training and coordination required to improve outcomes

## Slide 33: Temporary MCS Options in Cardiogenic Shock
VA ECMO with or without a vent
Impella
IABP
TandemHeart
Centrimag LVAD
RVAD – percutaneous or surgical

## Slide 35: WHEN TO USE VA ECMO
Good for supporting patients in severe shock, preserves end organ function and immediately replaces cardiac output
Allows kidneys to recover, avoids liver dysfunction, avoids high doses of inotropes or pressors
Provides right sided support as well by decompressing the right heart
Can be used in setting of acute LV thrombus when Impella cannot be used

## Slide 36: WHEN TO USE ECMO
Increases afterload, increases wedge pressure, can cause LV distension making bridge to recovery difficult
If pulsatility is not maintained particularly with full flow ECMO there is risk of intracardiac or root thrombus or stasis
Use low dose inotropes and partial flow ECMO to avoid intracardiac stasis
Need to maintain some amount of flow through the heart (especially in the setting of a prosthetic valve) and allow the heart to eject

## Slide 37: WHEN TO USE IMPELLA
CABG for Low EF patients – can get patients to heart recovery
Shock patients – allows LV unloading and myocardial recovery
Decreases high dose inotropes/pressors requirement (rocket fuel), end organs damage and risk of CVVH
Minimal histocompatibility issues – no oxygenator, less bleeding and clotting
Ambulate with device – Impella 5.5
Minimal complication profile – near zero risk of limb ischemia versus ECMO

## Slide 43: CONCLUSIONS
Implementation of a shock team predicated on a multidisciplinary standardized protocol emphasizing timely diagnosis, mandatory invasive hemodynamics and appropriate use of MCS may improve CS outcomes
A validated score incorporating demographic, laboratory and hemodynamic markers can help to stratify risk and guide clinical decision making in patients with all phenotypes of CS.

## Slide 48: STUDY CONCLUSION
Centers with Shock teams –
More likely to use PAC
Less Inotropes
Less likely to need mechanical ventilation
Less likely to need renal replacement therapy
Shorter ICU days
Lower mortality – 28% lower risk of ICU mortality

## Slide 61: IABP

## Slide 62: VA ECMO

## Slide 63: Direct RV Support/Bypass

## Slide 64: Hemodynamic Effects

## Slide 65: Impella RP

## Slide 66: Central RVAD

## Slide 67: Percutaneous RVAD

## Slide 68: SS Percutaneous RVAD

## Slide 69: DS Percutaneous RVAD

## Slide 70: DS Percutaneous RVAD

## Slide 73: Intensive Care Unit Type

## Slide 74: Background Of Intensivists

## Slide 79: CONCLUSION
Daily rounds by a multidisciplinary team are associated with lower mortality among medical ICU patients
The survival benefit of intensivists is in part explained by the presence of multidisciplinary teams in high intensity physician staffed ICUs
Multidisciplinary care associated with significant reductions in odds of death (odds ratio 0.84, 95% CI 0.76-0.93 , P =0.001
High intensity physician and multidisciplinary care teams (OR 0.78, 95% CI 0.68-0.89, p=0.001
Low intensity physician and MDT OR 0.88, 95% CI 0.79-0.97,p=.01

## Slide 83: ERAS Expert Consensus Summary
The complexity of perioperative care has dramatically increased with an aging patient population coupled with more sophisticated surgical techniques
ERAS protocols require adoption of patient centered multidisciplinary pathway centered on elements shown to improve surgical outcome and contribute to high value care
ERAS protocols may help reduce rates of FTR by optimizing perioperative care
Additional high quality studies are needed to tailor further guidance in the future

## Slide 85: Proposed Six Steps Approach To Patient Rescue

## Slide 86: CONCLUSIONS
Institutional culture and attitude to patient safety and quality metrics key
Postoperative survival is dependent on the effective response of hospitals to development of serious complications
Complication rates vary across institutions depending on acuity of illness, however much greater variations is observed in mortality rates after complications occur - failure to rescue (FTR)
Interhospital variation in FTR reflects the breadth, depth and expertise of relevant clinical and support services
Patients experiencing similar complications in one institution may be more likely to survive than in another

## Slide 87: CONCLUSIONS
FTR is an indicator of the prompt recognition and effective treatment of postoperative complications
Factors leading to lower FTR rates ( higher survival after complications) include early detection (e.g early recognition of sepsis) and more effective management such as rapid response teams or experienced interventional cardiologists to deal with acute MI
Shock teams can significantly lower the risk of mortality in patients with cardiogenic shock of all phenotypes
Public-Private Partnerships: Increased cooperation to fund cardiac care infrastructure in Nigeria

## Slide 88: Dr Joe Nwiloh Heart Center, Adazi Nnukwu, Anambra State

## Slide 89: Dr Joe Nwiloh Heart Center Adazi Nnukwu, Anambra State

## Slide 90: Dr Joe Nwiloh Heart Center, Adazi Nnukwu, Anambra State

## Slide 91
THANK YOU